Characterization of Ceramic Bodies Through Optical Techniques: State of Tension and Green Mechanical Properties

Chiara Venturelli*

Expert System Solutions S.r.l., Modena, Italy

E-mail: c.venturelli@expertsystemsolutions. it

* Corresponding author

Abstract

The optical techniques shown in this work allow to characterize the ceramic bodies from different points of view. The measurement of thermo-mechanical properties is performed without any contact, so the sample is completely free from constraints.

Optical Fleximeter measurements are particularly meaningful for glazed tiles, since this method permits to study the state of tension established between glaze and ceramic body after the firing process.

Due to the recent interest for larger size tiles with reduced thickness and their glazing, mechanical properties of green tiles take on great technological importance. The method presented here tackles the problem of breaking of single-firing tiles during the glazing process. This problem has always been faced considering the green flexural strength, as the highest stress experienced within the tile at its moment of rupture. This work outlines the importance to study the elastic and plastic components of deflection, during cyclic load application on green tiles, as simulation of rotary tile glazing and decorating machines.

Keywords: glazed tiles, state of tension, delayed crazing, green mechanical properties, deformations, glazing line, optical Fleximeter

Introduction

In glazed or double layer tiles, deformations may be generated from the different behaviour of the two overlapped layers, both during heating and cooling phases. The coupling of materials with different thermal behaviours inevitably gives rise to a system of stresses due to the thermal incompatibility between the layers.

This problem was tackled by Timoshenko in 1925, when he developed an equation that calculates the deformation of bimetallic strips as a function of the temperature. Unlike bimetallic strips, that bend only because of the differences between the thermal expansion coefficients of the two metals overlapped, in the case of a glazed ceramic material it is necessary to take into account the physical transformations occurring into the ceramic body and the glaze. The ceramic support shows the characteristics of an elastic solid, while glasses and glazes exhibit a strongly temperature-dependent mechanical behaviour. At room temperature, they behave as elastic solids, obeying Hooke’s law; at temperatures higher than their glass transition temperature (Tg), they behave as plastic fluids and their viscosity decreases as temperature rises, in accordance to Arrhenius’ law. Another characteristic point of the glaze-body system is the coupling temperature (Tc), in correspondence of which the glaze softens during heating (absorbing tensions) and solidifies during cooling (building up tensions). As a direct consequence, crazing, peeling or planarity defects may appear after cooling in glazed porous products. Delayed crazing in glazed porous tiles is due to the volume increase of the body, because of absorption of humidity after firing. The body, in fact, can show a slow but inexorable tendency to react with the water present as humidity in the air, which changes permanently its properties. This dimensional increase of ceramic bodies occurs in a period of time which can vary from some days to some years. The only type of body that can be considered stable during the time is the completely sintered body, characterized by a lack in porosity. Since all glazes, like glasses, are characterized by a very low resistance to traction stress, a little value of traction may causes their rupture. If the body expands, even if in a small percentage, the glaze may easily crack, unless it is in a state of compression with respect to the body. In this case, a little expansion of the body reduces the state of compression, without generating a dangerous traction. The old trick of increasing the state of compression of the glaze onto the body to avoid delayed crazing was working well only for the old thick and small tiles.

The size of the tiles is growing quickly: now the market is asking for wall tiles up to one meter in size and above. Thickness is down to the minimum, to save in cost and transportation. The value of the product lays in the richness of the surface and the thickness of the glazes is rising. Geometrical perfection is a must: tiles are mechanically squared to give a marble-like look to the wall. A high level of compression on a large size tile has a nasty side effect: bending. To reduce the bending there is only one solution: reduce to the minimum the amount of compression.

The aim is to know how much it is the minimum amount of glaze compression and this problem can be successfully tackled by studying the state of tension between glaze and body, by means of thermal expansion and bending tests.

The experimental method presented in this paper is based on optical techniques, which allow to characterize the material behaviour during firing and cooling without entering in contact with the specimen and, thus, with no interference caused by the measuring system, obtaining a good comprehension of the material real behaviour in an actual industrial firing cycle.

Materials and Methods

The state of tension between glaze and body depends essentially on two factors: the relation between their thermal expansion curves and their coupling temperature.

Generally, in order to prevent the defect of crazing, a common error consists of performing a simple comparison between coefficients of thermal expansion. However, the fact that the glaze coefficient of thermal expansion (CTE) at 400°C is lower than the body CTE at the same temperature cannot assure that the glaze will be in a state of compression with respect to the body after firing. Also a glaze with a CTE lower than the body one can give rise to delayed crazing, as it will be shown later. In fact, another important parameter must be considered: it is the coupling temperature between glaze and body. Until now, the instrument used to measure the coupling temperature was the Steger tensiometer and the analysis was quite problematical. The test was performed with a very long (30 cm) specimen which was not placed completely inside the kiln, with consequent lack in homogeneity in sample temperature.

All the experimental part of this work was performed by using the optical instrument Misura® FLEX-ODLT produced by Expert System Solutions. With this instrument (which combines together Optical Fleximeter and Optical Dilatometer), it is possible to perform both thermal expansion measurements and the so-called “Steger analysis”, which allows to identify the coupling temperature. This instrument works with no contact with the samples tested: thus, their behaviour is never modified by the measuring system. The specimen can be cut directly from an industrial tile; then it is placed into the kiln, which is equipped with an automatic temperature controller and can reach a heating rate of 30°C per minute and a maximum temperature of 1600°C.

The first experimental phase consists of a flexion analysis performed on a fired glazed body. A small sample bar (85x5x5mm) is suspended between two holding rods 70 mm spaced, while a camera frames the centre of the sample, which moves downward or upward during the heat treatment.

The beam of blue light which lights the centre of the specimen has a wave length of 478 nanometres and enables to reach the optical resolution of 0,5 micron per pixel of the digital camera.

The test is performed heating the sample up to a temperature high enough to cause the glaze softening and following the cooling below to about 100°C. The heating cycle consists of a heating rate of 20°C/min up to 1000°C and free cooling.

The curve obtained with this instrument allows to identify the coupling temperature between glaze and ceramic body.

Results and Discussion

The results shown below are obtained for two types of tiles for double firing, here named “white tile” and “blue tile”.

White tile

The flexion curve of the glazed tile is expressed as a function of the temperature and shown in Figure 2.

The downward flexion in the initial part of the curve is due to the differences between the coefficients of thermal expansion of glaze and body: having the body higher CTE compared to the glaze, it is subjected to higher expansion, becoming longer than the glaze. The specimen appears concave. The curve shows a negative peak at 600°C, after the transition α quartz – β quartz occurring into the ceramic body: in correspondence to this point the difference between the thermal expansion curves of glaze and body is maximum, also because the glaze is near the glass transition. At 627°C a rapid variation of inclination occurs: in correspondence of this point it is possible to identify the coupling temperature (Tc). At Tc, the glaze softens during heating (absorbing tensions) and solidifies during cooling (building up tensions).

A quantitative study of the state of tension established between glaze and body after firing is fundamental in order to prevent some frequent problems occurring in glazed products, for example delayed crazing or serious planarity defects.

The second testing phase consists of two thermal expansion tests, performed on fired glaze and body (see Figure 3). These tests were performed with the horizontal Optical Dilatometer Misura® ODLT. Two beams of lights illuminate both the ends of a specimen 50 mm long placed horizontally into the furnace and two digital cameras capture the images of the last two hundreds microns of each tip. The specimen, completely free to expand or contract, is measured by the image that it projects on an image sensor. With a wavelength of 478 nanometres, a resolution of 0,5 microns can be obtained.

To obtain the final result, it’s necessary to translate the glaze thermal expansion curve so that it coincides with the body thermal expansion curve in correspondence of the coupling temperature, as shown in Figure 4.

The two curves, after the translation, do not coincide anymore at the origin (room temperature). This difference is indeed the traction or compression which has established between glaze and body immediately after firing. From this moment, the body starts to react with the air humidity, increasing its volume. This is a hydrothermal phenomenon, which is favoured by the presence of humidity and high temperatures. This process of rehydration, in the case of tiles already placed on the floor, may require some years, but can be also artificially accelerated by increasing the water vapour pressure and the temperature. Performing an autoclave test at high temperature and pressure, the process can be completed in few hours. The measurement of the percentage of expansion due to the adsorption of water should be compared with the measurement of the percentage of compression of the glaze layer with respect to the body. If the value of expansion after the autoclave test is lower than the level of compression established between glaze and body, then the product will not be at risk of delayed crazing.

A body formulation and a firing cycle intended to avoid delayed crazing do not exist. The problem, however, can be successfully tackled by studying the state of tension between glaze and body, by means of thermal expansion and bending tests.

Blue tile

The following example (Blue tile, Figure 5) shows the thermal expansion and flexion curves of a product which is strongly at risk of crazing.

In this case the coupling temperature is found in correspondence of 663°C. The two thermal expansion curves already coincide at this temperature, without any need to be translated. This means, at room temperature, the glazed body shows no residual tension.

If the body undergoes even a small increase of volume, the glaze will be in a state of traction

A simple comparison between coefficients of thermal expansion is misleading: the glaze CTE at 400°C is 6.13∙10-6 °C-1, while the body CTE at the same temperature is 7.26∙10-6 °C-1.

The fact that the glaze CTE at 400°C is lower than the body CTE at 400°C does not guarantee that the glaze will be in a state of compression after firing.

The experimental method based on the optical Fleximeter results proved to be a valid help for the study of the state of tension in both double-firing and single-firing glazed ceramic materials.

Green Mechanical properties Investigation

The optical Fleximeter allows also to investigate some green mechanical properties which are fundamental considering tiles for single-firing.

In case of single-firing products, an extreme bending of tiles during the glazing process due to the numerous application of glazing liquids is a frequent problem on the glazing line. The deformation imposed by the decoration machines to green thin and bended tiles is sometimes so high to give rise to breaks.

This problem has always been faced considering the green flexural strength or modulus of rupture (MOR), the stress required to provoke the specimen rupture during a bending test.

But tiles do not break just when their capacity to tolerate applied loads (tile weight, glazing line vibrations, collisions within tiles) is exceeded, but also in case of high deformations.

Green bodies undergo deformations during glaze applications: it is due to the volume increase of the upper tile layer when wet by the aqueous solution of glazes (clayey networks expand).

Once bended, tiles have to withstand high deformations without come to failure.

The method presented here tackles this problem from a different point of view: instead of the classical measurement of the MOR, the “imposed deformations” are investigated, thanks to simulations of the bending of the green tiles due to water and cyclic load applications.

The parameters measured are the maximum value of bending and the flexural modulus of elasticity (Ef).

In the elasticity field, the relation between applied load and deformation of the material is expressed by Hooke’s law, which states that the deformation is directly proportional to the deforming load:

The constant of proportionality is the elasticity modulus (Young’s modulus), E.

With a constant applied stress, the higher is the modulus E, the higher is the material stiffness and therefore the lower is the allowed deformation.

In Figure 6 two possible mechanical behaviours are represented. The material on the right shows low E and Modulus of Rupture (MOR): this means it is able to tolerate higher deformation without breaking with respect to the material on the left, which has high E and MOR but bears low deformation before its rupture.

The preferable behaviour in a glazing line is the one represented on the right, even if this means low MOR. This represents not a problem unless the MOR falls under the limit of about 1 MPa = 10kg/cm², which is the minimum value which allows the tile to tolerate his own weight and the glazing line vibrations.

The solution of the problem of “imposed deformations” is to design bodies with low bending due to glazing and with low modulus of elasticity.

The optical Fleximeter allows to simulate the glazing process, investigating the bending of the green tiles and the deformation imposed by the decoration machines.

Bending due to water application

A simulation of the glazing process has been carried out on eight different ceramic bodies for single-firing by using the optical Fleximeter.

A small bar of ceramic body, placed on two 70mm spaced alumina rods, was subjected to 4 successive water applications at room temperature (see Figure 7).

On the upper surface of the test piece, 0,2 cm3 of water are applied every 2’30’’, while the optical system records the sample bending.

The water application of 0,8 cm3 on a sample of 100x10 mm in side corresponds to a glaze application of about 800 g/m2.

The results of these tests are shown in Figure 8. When the water wets the upper tile surface, clayey networks expand and the upper layer increases in volume. Samples become convex returning problems during the decoration.

This bending behaviour depends on the mineralogical nature of the clayey matrix: the differences among the samples tested are due to the presence of different clays in the ceramic body formulations. At the end of water applications, tiles have a concave appearance: the dry lower tile surface resists to the upper layer contraction which undergoes a plastic deformation able to eliminate the initial compression.

.

Bending due to cyclic loading

With the optical Fleximeter, it is also possible to simulate the bending due to cyclic loading.

This test is carried out applying a dynamic load (400g) in the central portion of the sample (see Figure 9).

The optical camera frames upward and downward the sample bending, providing a typical fatigue test (load and unload with steps of few seconds) without sample breaking.

Figure 10 shows the results of this test on the same eight samples tested previously. The absolute bending is reported as a function of the time. The fatigue cycle consists of 30 load-unload.

If the deformation width remains constant, the sample is deforming fully elastically. High widths correspond to low flexural modulus of elasticity. This is the best performance, which allows the sample to tolerate high deformations without breaking.

If the deformation width remains constant but the total downward deformation increases with further load applications, the sample has a visco-elastic behaviour (it is able to adsorb partially internal stresses by means of a viscous flowing).

With this test, it is also possible to determine numerically the flexural modulus of elasticity through the formula:

L = support span, (mm)

b = width of test beam, (mm)

d = depth of tested beam, (mm)

Ef = flexural modulus of elasticity,(GPa)

f= deflection of the beam

Sample AD-8, represented with the in black curves in Figures 8 and 10, has a low bending due to water application and low Ef (it is able to tolerate high deformations without breaking): it shows the best mechanical behaviour during the glazing process,

Conclusions

The optical techniques shown in this work allow to characterize ceramic bodies from different points of view. The state of tension established between glaze and ceramic body after cooling can be studied in case of double firing and single firing tiles. This is fundamental in order to prevent the typical defects occurring in glazed products: delayed crazing or serious planarity defects.

In case of single-firing products, the study of the actual deformations of the green tiles during the glazing process has been carried out with the optical Fleximeter.

Thanks to simulation of the bending due to water and cyclic loading, it is possible to tackle the problem of tiles breaking in the glazing line.

References

M. Paganelli, D. Sighinolfi. (2009). The optical fleximeter to study deformations on ceramics. Industrial Ceramics, 29 (1): 43-48

C. Venturelli, D. Sighinolfi. (2012). Experimental study of deformations and state of tension in traditional ceramic materials. Tiles & Bricks International, (1): 85-98

M.Paganelli, D.Sighinolfi. (2008). Delayed crazing resistance of glazed ceramics materials. cfi/Ber DKG, 85 (1): E12-E15

Figure 1a. 	Scheme of the optical Fleximeter

Figure 1b. 	Sample inside the kiln

Figure 2. 	Flexion curve of the white glazed body and determination of the Tc

Figure 3. 	Thermal expansion curves of body and white glaze

Figure 4. 	Level of compression established between glaze and body (white tile)

Figure 5.	Flexion curve of the blue glazed tile and curves of thermal expansion of glaze and body

Figure 6. 	Mechanical behaviour of green tiles

Figure 7. 	Water application on the upper surface of a green sample inside the Fleximeter

Figure 8.	 Example of bending curves of 8 different specimens while subjected to successive water applications (0,2 cc X 4)

Figure 9.	Deformation test with the optical Fleximeter.

Figure 10.	 Deformation test results